# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of “Establishment of Exhibition Center- Luleburgaz Supply”	p 1 /16

Publication reference: BGTR0200055-SUP-PP2-1

LOT 2: Supply, Installation, and Commissioning of Electronic, IT, and Technical Systems

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

The execution of the order includes the delivery of equipment described in the technical proposal, in accordance with the minimum technical characteristics specified in the technical specification, an integral part of the contracting authority’s documentation.

The equipment must meet the current standards in the Republic of Türkiye or equivalent.

The transportation, assembly and installation / where applicable / of the equipment subject to this procedure is the responsibility of the contractor. The equipment must be delivered in suitable packaging so that protection from external influences and damage during transportation is ensured;

The equipment cannot have lower characteristics than the minimum technical and functional ones specified in this document, but can have higher ones, depending on the market offer in the period of awarding the supply;

The equipment supplied must be new / unused / and must be accompanied with:

1. Warranty card(s) for delivered equipment (if applicable);

2. Certificate of quality (if applicable);

3. Equipment documentation, manufacturer’s specification (if applicable).

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1. | MULTIPURPOSE HALL |  |  |  |
| 1.1. | Microphone : 3 pieces In accordance with TS 6509 standard, Crystal or dynamic microphone with the specifications written in the technical specification |  |  |  |
| 1.2. | Motorised curtain (300 X 225) : 1 piece Curtain 4:3 format, front projection type, curtain image gain at least 1.2, curtain viewing angle at least 150°, motorised and remote control controllable, M1 7201-96 fire protection certificate, aluminium material curtain and motor protection housing. |  |  |  |
| 1.3. | Tower speaker : 4 pieces Speaker and speaker box in accordance with TS 976 EN 60268-5 standard, with the specifications written in the technical specification |  |  |  |
| 1.4. | 6W ceiling type speaker : 8 pieces The loudspeaker should be transformerised and be able to drive 6W, 3W, 1.5W and 0.75W. The loudspeaker The support box to be attached to the back protects the speaker against dust and dripping water from above. Ceiling speaker shall be supplied to the market in accordance with TS EN 54-24 standard with CE conformity marking. The speaker shall be equipped with ceramic screw terminal block, thermal fuse and heat resistant high temperature connection. The maximum power shall be at least 9W (nominal 6/3/1.5/0,75). The sound pressure level at 6W power shall be at least 90 dB and the manufacturer shall have clearly stated this on the product information page. Ceiling speakers manufactured in accordance with TS EN 54-24 standard, 305/2011 / EU Building materials Regulation, placed on the market with CE conformity marking, with the manufacturer's performance declaration and Performance Invariability Certificate obtained from organisations accredited by the European Union. |  |  |  |
| 1.5. | At least 4 MP Indoor Dome Camera – 3 pieces High Resolution, Colour, B/W, Dome type IP Camera with Day/Night Function. At least 1/3’’. It should have CMOS sensor and support 2MP resolution at least 25 fps (picture/sec)/30 fps (picture/sec), 4 MP resolution at least 20 fps (picture/sec). The camera must have mechanical IR cutter filter and must have true Day/Night feature. The camera must have a motorised lens with a viewing angle adjustable between 3.2 mm and 9 mm. The camera must have automatic backfocus (auto focus, remote focus) feature. The camera should support H.265, H.264 and MJPEG image compression formats. The camera must support at least 120 dB WDR (Wide Dynamic Light Range), ROI, 3D-DNR, BLC, features. The camera must have at least IP66 protection according to TS EN 60529 standard and at least IK10 mechanical resistance according to TS EN 62262 standard. 12 Volt DC external supply input. The camera supplied to the market with CE marking in accordance with the Electromagnetic Compatibility Regulation and TS EN55032, TS EN55024, TS EN 50130-4 standards. |  |  |  |
| 1.6. | Amfi – 1 piece The multi-purpose hall and all other places specified in the project should be selected to ensure that the sound is amplified. |  |  |  |
| 1.7. | 3000 ansi-lumen, 1920x1080 resolution projection – 1 piece 3000 ansi-lumen, 1920x1080 resolution projection |  |  |  |
| 2. | TECHNICAL FIELD |  |  |  |
| 2.1. | 19 rack metal cabinet IP65 – 1 piece Certified by an accredited test institution showing compliance with TS EN 61587-1 standard, carrier inner uprights (2 in front and 2 in the back) at least 1.5 mm in twisted structure. thickness, the side panels of the cabinets are made of DKP sheet metal with a thickness of at least 1 mm, the strut spacing is 19’’ wide, the subframes of the cabinets have a cable entry section that prevents dust entry and the ability to fix the cables, the front and side covers of the cabinets can be opened with key lock and can be removed, the front covers of the cabinets are tampered, anti-static, secure, smoked coloured, with at least 135 degree keyed locked openable, detachable, structure, which is at least 4 mm thick glass with a grinded thickness of at least 4 mm thick glass, with at least 3 cm wide screws holding the glass around the glass to increase the strength of the front cover glass, with metal snap, frame structure, painted with electrostatic powder paint, with ventilation grilles on the top and / or side surfaces of the cabinets, each side of the square holes on the cabinet uprights is at least 9.5 ± 0.01 mm, the cabinet uprights can move along the depth of the cabinets. |  |  |  |
| 2.2. | 90 cm DISH ANTENNA AND SET – 1 piece Electrostatic or polyester powder coated antenna made of at least 0.6 mm galvanised sheet, aluminium LNB arm and plastic LNB clamp, wall or ground fixing mounting foot. |  |  |  |
| 3. | INFORMATION DESK |  |  |  |
| 3.1. | 6W ceiling type speaker : 1 piece The loudspeaker should be transformerised and be able to drive 6W, 3W, 1.5W and 0.75W. The loudspeaker The support box to be attached to the back protects the speaker against dust and dripping water from above. Ceiling speaker shall be supplied to the market in accordance with TS EN 54-24 standard with CE conformity marking. The speaker shall be equipped with ceramic screw terminal block, thermal fuse and heat resistant high temperature connection. The maximum power shall be at least 9W (nominal 6/3/1.5/0,75). The sound pressure level at 6W power shall be at least 90 dB and the manufacturer shall have clearly stated this on the product information page. Ceiling speakers manufactured in accordance with TS EN 54-24 standard, 305/2011 / EU Building materials Regulation, placed on the market with CE conformity marking, with the manufacturer's performance declaration and Performance Invariability Certificate obtained from organisations accredited by the European Union. |  |  |  |
| 4. | FOYER / WAITING AREA |  |  |  |
| 4.1. | 65INCH SMART LED TELEVISION – 1 piece 65inch screen, $1920 \times 1080$ pixel resolution, android, led, hdmi input television |  |  |  |
| 4.2. | 6W ceiling type speaker : 4 pieces The loudspeaker should be transformerised and be able to drive 6W, 3W, 1.5W and 0.75W. The loudspeaker The support box to be attached to the back protects the speaker against dust and dripping water from above. Ceiling speaker shall be supplied to the market in accordance with TS EN 54-24 standard with CE conformity marking. The speaker shall be equipped with ceramic screw terminal block, thermal fuse and heat resistant high temperature connection. The maximum power shall be at least 9W (nominal 6/3/1.5/0,75). The sound pressure level at 6W power shall be at least 90 dB and the manufacturer shall have clearly stated this on the product information page. Ceiling speakers manufactured in accordance with TS EN 54-24 standard, 305/2011 / EU Building materials Regulation, placed on the market with CE conformity marking, with the manufacturer's performance declaration and Performance Invariability Certificate obtained from organisations accredited by the European Union. |  |  |  |
| 4.3. | At least 4 MP Indoor Dome Camera – 2 pieces High Resolution, Colour, B/W, Dome type IP Camera with Day/Night Function. At least 1/3’’. It should have CMOS sensor and support 2MP resolution at least 25 fps (picture/sec)/30 fps (picture/sec), 4 MP resolution at least 20 fps (picture/sec). The camera must have mechanical IR cutter filter and must have true Day/Night feature. The camera must have a motorised lens with a viewing angle adjustable between 3.2 mm and 9 mm. The camera must have automatic backfocus (auto focus, remote focus) feature. The camera should support H.265, H.264 and MJPEG image compression formats. The camera must support at least 120 dB WDR (Wide Dynamic Light Range), ROI, 3D-DNR, BLC, features. The camera must have at least IP66 protection according to TS EN 60529 standard and at least IK10 mechanical resistance according to TS EN 62262 standard. 12 Volt DC external supply input. The camera supplied to the market with CE marking in accordance with the Electromagnetic Compatibility Regulation and TS EN55032, TS EN55024, TS EN 50130-4 standards. |  |  |  |
| 5. | ADMINISRATIVE OFFICES |  |  |  |
| 5.1. | 16 Channel Network Video Recorder (NVR) – 1 piece The device must have 8MP recording support and allow at least 16 2 MP cameras to be monitored live at the same time. The recorder must support H.265, H.264 and MJPEG formats. The device must have an input bandwidth of at least 160 Mpbs. The device must have a 10/100 Mbit ethernet port. The device must have high resolution HDMI output. The device must have at least 1 VGA screen output. The device must have at least 2 harddisk inputs. The device must have a harddrive with at least 12 TB recording memory capacity. 2014/35/EU Device supplied to the market with CE conformity marking in accordance with the regulation on Electrical Equipment Designed for Specific Voltage Limits |  |  |  |
| 5.2. | 22 inch CONTROL DESK LCD CCTV MONITOR – 1 piece The monitors are not intended for TV or PC use, but must be Video Monitors produced for security purposes, suitable for 24-hour working conditions produced for security systems. They are min 20’’ - max 22’’ LCD monitors with features suitable for use on the table. Minimum 30.000 hours lifetime. Brightness value will be min 200 cd/m2, contrast ratio will be min 1000:1. It will support a resolution of min 1920x1080. It should have a maximum response time of 5ms. Video input 1 VGA, 1 HDMI, It will be supplied with table leg. Point spacing should be maximum 0.25*0.25mm. The monitor must meet and document the following standards. Safety Certification: EN60950, CE Electromagnetic Emission Standard: EN55022 class B, FCC part 15 class B Immunity to Environmental Electromagnetic Pollution: EN50130-4 (CE) |  |  |  |
| 5.3. | Laptop – 1 piece 15.6 inch screen, core i5 processor, 8gb ram |  |  |  |
| 5.4. | Computer and monitor supply – 1 piece Core i5 processor 6 cores, 1920 X 1080 resolution (pixel) |  |  |  |
| 6. | WORKSHOP / RESTAURANT |  |  |  |
| 6.1. | 6W ceiling type speaker : 4 pieces The loudspeaker should be transformerised and be able to drive 6W, 3W, 1.5W and 0.75W. The loudspeaker The support box to be attached to the back protects the speaker against dust and dripping water from above. Ceiling speaker shall be supplied to the market in accordance with TS EN 54-24 standard with CE conformity marking. The speaker shall be equipped with ceramic screw terminal block, thermal fuse and heat resistant high temperature connection. The maximum power shall be at least 9W (nominal 6/3/1.5/0,75). The sound pressure level at 6W power shall be at least 90 dB and the manufacturer shall have clearly stated this on the product information page. Ceiling speakers manufactured in accordance with TS EN 54-24 standard, 305/2011 / EU Building materials Regulation, placed on the market with CE conformity marking, with the manufacturer's performance declaration and Performance Invariability Certificate obtained from organisations accredited by the European Union. |  |  |  |
| 6.2. | At least 4 MP Indoor Dome Camera – 1 piece High Resolution, Colour, B/W, Dome type IP Camera with Day/Night Function. At least 1/3’’. It should have CMOS sensor and support 2MP resolution at least 25 fps (picture/sec)/30 fps (picture/sec), 4 MP resolution at least 20 fps (picture/sec). The camera must have mechanical IR cutter filter and must have true Day/Night feature. The camera must have a motorised lens with a viewing angle adjustable between 3.2 mm and 9 mm. The camera must have automatic backfocus (auto focus, remote focus) feature. The camera should support H.265, H.264 and MJPEG image compression formats. The camera must support at least 120 dB WDR (Wide Dynamic Light Range), ROI, 3D-DNR, BLC, features. The camera must have at least IP66 protection according to TS EN 60529 standard and at least IK10 mechanical resistance according to TS EN 62262 standard. 12 Volt DC external supply input. The camera supplied to the market with CE marking in accordance with the Electromagnetic Compatibility Regulation and TS EN55032, TS EN55024, TS EN 50130-4 standards. |  |  |  |